## TPPs and CHPPs
Plant/Unit | Fuel | Installed Capacity (MW) | Estimated Remaining Service Life (yrs) | Total Installed Capacity
Talimardjan TPP Unit 1 | Gas | 800 | 42 | 10660
Novo-Angren TPP Unit 1 | Gas/Coal | 300 | 23
Novo-Angren TPP Unit 2 | Gas/Coal | 300 | 23 | Total Uzbekistan Capacity
Novo-Angren TPP Unit 3 | Gas/Coal | 300 | 24 | 35154.7 | 10546.41
Novo-Angren TPP Unit 4 | Gas/Coal | 300 | 25
Novo-Angren TPP Unit 5 | Gas/Coal | 300 | 26
Novo-Angren TPP Unit 6 | Gas/Coal | 300 | 29
Novo-Angren TPP Unit 7 | Gas/Coal | 300 | 33
Sirdarya TPP Unit 1 | Gas | 300 | 10
Sirdarya TPP Unit 10 | Gas | 300 | 19
Sirdarya TPP Unit 2 | Gas | 300 | 11
Sirdarya TPP Unit 3 | Gas | 300 | 12
Sirdarya TPP Unit 4 | Gas | 300 | 13
Sirdarya TPP Unit 5 | Gas | 300 | 14
Sirdarya TPP Unit 6 | Gas | 300 | 15
Sirdarya TPP Unit 7 | Gas | 300 | 16
Sirdarya TPP Unit 8 | Gas | 300 | 17
Sirdarya TPP Unit 9 | Gas | 300 | 18
Navoi TPP Unit 11 | Gas | 210 | 18
Navoi TPP Unit 12 | Gas | 210 | 19
Tachiatash TPP Unit 1 | Gas | 210 | 3
Tachiatash TPP Unit 2 | Gas | 210 | 3
Tashkent TPP Unit 7 | Gas | 165 | 5
Tashkent TPP Unit 8 | Gas | 165 | 6
Tashkent TPP Unit 10 | Gas | 165 | 8
Navoi TPP Unit 8 | Gas | 160 | 6
Navoi TPP Unit 9 | Gas | 160 | 6
Tashkent TPP Unit 6 | Gas | 155 | 5
Tashkent TPP Unit 11 | Gas | 155 | 8
Tashkent TPP Unit 12 | Gas | 155 | 9
Tashkent TPP Unit 1 | Gas | 150 | 3
Tashkent TPP Unit 2 | Gas | 150 | 3
Tashkent TPP Unit 3 | Gas | 150 | 3
Tashkent TPP Unit 4 | Gas | 150 | 3
Tashkent TPP Unit 5 | Gas | 150 | 4
Tashkent TPP Unit 9 | Gas | 150 | 7
Navoi TPP Unit 3 | Gas | 150 | 3
Navoi TPP Unit 4 | Gas | 150 | 3
Tachiatash TPP Unit 3 | Gas | 110 | 3
Tachiatash TPP Unit 4 | Gas | 100 | 7
Tachiatash TPP Unit 5 | Gas | 100 | 9
Angren TPP Unit 5 | Gas/Coal | 68 | 3
Angren TPP Unit 6 | Gas/Coal | 68 | 3
Angren TPP Unit 7 | Gas/Coal | 68 | 3
Angren TPP Unit 8 | Gas/Coal | 68 | 3
Navoi TPP Unit 7 | Gas | 60 | 5
Fergana CHPP Unit 5 | Gas | 60 | 10
Fergana CHPP Unit 6 | Gas | 60 | 17
Fergana CHPP Unit 3 | Gas | 55 | 2
Fergana CHPP Unit 4 | Gas | 55 | 6
Angren TPP Unit 2 | Gas/Coal | 54.5 | 3
Angren TPP Unit 3 | Gas/Coal | 53 | 3
Angren TPP Unit 1 | Gas/Coal | 52.5 | 3
Angren TPP Unit 4 | Gas/Coal | 52 | 3
Navoi TPP Unit 5 | Gas | 50 | 4
Navoi TPP Unit 6 | Gas | 50 | 5
Fergana CHPP Unit 2 | Gas | 50 | 0
Other thermal power plants | Gas | 41 | 0
Mubarek CHPP Unit 1 | Gas | 30 | 22
Mubarek CHPP Unit 2 | Gas | 30 | 23
Tashkent CHPP Unit 1 | Gas | 30 | 0
Navoi TPP Unit 1 | Gas | 25 | 3
Navoi TPP Unit 2 | Gas | 25 | 3
Fergana CHPP Unit 1 | Gas | 25 | 0

## Efficiencies
Plant | Available Capacity (MW) | Reported Efficiency | Weighted efficiency | Total Capacity | Weighted average efficiency | Efficiency of modern CCGTs
Talimarjan TPP | 772 | 40% | 308.8 | 10058 | 432938% | 53%-56%
Sirdarya TPP | 2840 | 34% | 965.6
Novo-Angren TPP | 1960 | 32% | 627.2 | Weighted
Tashkent TPP | 1758 | 33% | 580.14 | 3276.48
Navoi TPP | 1181 | 30% | 354.3
Tachiattash TPP | 690 | 30% | 207
Angren TPP | 445 | 31% | 137.95
Fergana CHPP | 289 | 25% | 72.25
Mubarek CHPP | 56 | 30% | 16.8
Taschkent CHPP | 28 | 23% | 6.44
Other TPPs | 39 | Not reported

## Hydropower plants
Cascade/Plant | Installed Capacity (MW) | Total installed capacity
Charvak | 621 | 1807.7
Chodjiket | 165
Tuyamuyun | 150
Andidjan | 140
Unit 1-4 | 126
Gasalkent | 120
Chirchik | 84
Tawak | 72
Andidjan | 50
Akkawak 1 | 34.7
Tupolang | 30
Chishrauz | 21.9
Achangaran | 21
Bozsui 17 | 17.6
Aktepin | 15
Kadyrin | 13.2
Shachrichan 5A | 11.4
Kubrai | 11.2
Salar | 11.2
Bozsui 16 | 11.2
Bozsui 14 | 10.7
Akkawak 2 | 9
Taligulyan 3 | 8.8
Shachrichan 6A | 7.6
Bozsui 15 | 7
UFK 2 | 6.7
Burddjar | 6.4
Irtysh | 6.4
Bozsui 18 | 4.4
Bozsui | 4
Shekhantau | 3.6
Taligulyan 1 | 3
UFK 1 | 2.2
Urgut | 1.5

## Wind Turbine
Name | Capacity | Location | Source | Year of operating | Description | Capacity
Zarafshan Wind Power Project | 500 | Navoi Region | https://www.adb.org/multimedia/partnership-report2022/stories/building-central-asias-biggest-wind-farm/?form=MG0AV3 https://masdar.ae/en/news/newsroom/president-of-uzbekistan-inaugurates-500mw-zarafshan-wind-farm?utm_source=chatgpt.com | 2024 | 111 wind turbines, each with a capacity of 4.7 MW | 5400
Kungrad Wind Farm | 1500 | Kungrad district of Karakalpakstan | https://kun.uz/en/news/2023/10/09/uzbekistan-approves-agreements-for-construction-of-a-1500-mw-wind-farm?form=MG0AV3 | 2026 | This project is being implemented by ACWA Power and includes 300 MW of electricity storage systems, a 500-kilovolt substation, and overhead power lines. Construction is expected to begin in 2024 and be completed by the end of 2026
Additional Wind Farms in Karakalpakstan | 100 | Karakalpakstan | https://kun.uz/en/news/2023/10/09/uzbekistan-approves-agreements-for-construction-of-a-1500-mw-wind-farm?form=MG0AV3
Wind Farms in Bukhara Region | 1000 | Bukhara Region | https://kun.uz/en/news/2023/10/09/uzbekistan-approves-agreements-for-construction-of-a-1500-mw-wind-farm?form=MG0AV3
Mingbulak Wind Farm | 1000 | Mingbulak Wind Farm | Masdar ¦ Masdar Signs Agreement to Develop 1GW Mingbulak Wind Farm in Uzbekistan | 2030
Gijduvan Wind Farm: | 300 | Bukhara Region | ACWA Power to build two more wind power plants in Uzbekistan | 2023 announced
Uchkuduk Wind Farm | 1000 | Uchkuduk District, Navoi Region | https://kun.uz/en/news/2024/11/13/masdar-to-build-new-1000-mw-wind-power-plant-in-uzbekistan?utm_source=chatgpt.com

## Power Plant
Country | Country long | Name | Capacity MW | Latitude | Longitude | Primary fuel | Commissioning year | Source | URL | Geolocation source | Total Capacity
UZB | Uzbekistan | Syrdarya Power Plant | 3050 | 40.2296 | 69.0998 | Gas | 1972 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki | 17287
UZB | Uzbekistan | Yangi Angren | 2100 | 40.9233 | 69.8174 | Coal | 1985 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Tashkent | 2230 | 41.3796 | 69.3702 | Gas | 1963 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Navoi | 1618 | 40.1585 | 65.3119 | Gas | 1963 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Talimardjan | 1700 | 38.4812 | 65.6298 | Gas | 2004 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Takhiatash | 730 | 42.3152 | 59.5548 | Gas | 1962 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Fergana | 305 | 40.4491 | 71.7819 | Gas |  | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Turaqurgon | 900 | 40.9971 | 71.4583 | Gas |  | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Angren | 634 | 41.0049 | 70.1228 | Coal | 1957 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Tuyamuyun | 150 | 41.2132 | 61.4054 | Hydro | 1983 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Charvak | 666 | 41.627 | 69.969 | Hydro | 1970 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Topolon | 175 | 38.5786 | 67.8008 | Hydro |  | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Andijan | 190 | 40.7702 | 73.0626 | Hydro | 1983 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Farkhod | 126 | 40.1935 | 69.3053 | Hydro | 1948 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Qamchiq | 27 | 41.175 | 70.4811 | Hydro |  | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Hojakent | 165 | 41.599 | 69.8644 | Hydro | 1975 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Gazalkent | 120 | 41.5787 | 69.8015 | Hydro | 1980 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Tuyabogiz | 11 | 41 | 69.3022 | Hydro | 2019 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Lower Bozsu HPP-14 | 15 | 41.4689 | 69.5822 | Hydro | 1944 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Lower Bozsu HPP-18 | 7 | 41.4689 | 69.5822 | Hydro | 1950 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Lower Bozsu HPP-19 | 11 | 41.4689 | 69.5822 | Hydro | 1950 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Zarchob-2 | 38 | 38.697 | 67.7221 | Hydro | 2021 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Zarchob-1 | 37 | 38.697 | 67.7221 | Hydro | 2021 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Lower Bozsu HPP-23 | 18 | 41.4689 | 69.5822 | Hydro | 1954 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Lower Bozsu HPP-22 | 4 | 41.4689 | 69.5822 | Hydro | 1954 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Nur Navoi Solar park | 100 | 40.1159 | 64.9886 | Solar | 2021 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Nurabad Solar park | 100 | 39.6308 | 66.0581 | Solar | 2022 | Wikipedia | https://en.wikipedia.org/wiki/Energy_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Samarkand Solar park | 220 | 39.8607 | 66.4464 | Solar | 2024 | Wikipedia | https://en.wikipedia.org/wiki/Solar_power_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Chuponota Solar park | 20 | 41.3489 | 69.4934 | Solar | 2023 | Wikipedia | https://en.wikipedia.org/wiki/Solar_power_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Pop Solar park | 200 | 40.8736 | 71.1089 | Solar | 2024 | Wikipedia | https://en.wikipedia.org/wiki/Solar_power_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Karaulbazar Solar park | 500 | 39.4556 | 64.7038 | Solar | 2024 | Wikipedia | https://en.wikipedia.org/wiki/Solar_power_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Yukorichirchik Solar park | 400 | 41.1908 | 69.5261 | Solar | 2024 | Wikipedia | https://en.wikipedia.org/wiki/Solar_power_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Jizzakh Solar park | 220 | 40.139 | 67.5124 | Solar | 2024 | Wikipedia | https://en.wikipedia.org/wiki/Solar_power_in_Uzbekistan | https://www.gem.wiki
UZB | Uzbekistan | Nishon Solar park | 500 | 38.539 | 65.5791 | Solar | 2024 | Wikipedia | https://en.wikipedia.org/wiki/Solar_power_in_Uzbekistan | https://www.gem.wiki